Summary emmy Munoz

>From: "Emmy Munoz" <miss_emmy_13@hotmail.com>
>To: miss_emmy_13@hotmail.com
>Subject: summary
>Date: Tue, 24 Oct 2006 02:51:13 +0000
>
>
>    Capillary electrophoresis (CE) is a relatively new technique of 
>electrophoresis, with its first use in the 1980s.    CE offers many 
>advantages over conventional slab gel electrophoresis.  The entire CE 
>process can be automated, from injection and separation to detection.  
>Also, only small amounts of sample are used up in the CE process, leaving 
>enough samples for retesting.  Other advantages of CE include: faster 
>sample processing and the ease of detection and interpretation of results.
>    The disadvantages of CE include its small throughput capacity.  Only one 
>sample can be run at a time, so processing many samples will take longer 
>than slab gel electrophoresis.  However, some newer instruments permit 
>running several samples at a time.  The costs of CE instruments are 
>considerably higher than slab gel instruments.
>    The components of the CE instrument include: a narrow capillary, two 
>buffer vials, two electrodes connected to a power source, a laser 
>excitation source, fluorescence detectors, a auto sampler to hold sample 
>vials and a computer component that controls sample injection and 
>detection.  The capillary is made of fused silica and contains gel used to 
>separate the DNA molecules.  Detection in the CE instrument is automatic 
>and the computer generates readout.
>    Separation of DNA in electrophoresis relies on the different sizes of DNA 
>passing through the gel.  Smaller DNA molecules are eluted first because 
>they are able to travel through the gel pores faster.  Larger molecules are 
>retarded more than smaller molecules. Two models of DNA separations have 
>been described: the Ogston sieving model and reputation.  The Ogston model 
>regards DNA as a spherical shaped molecule running through pores in the 
>gel.  Larger molecules are not able to go through the pores and will not 
>get through the gel.  Reputation regards DNA as a large, snake-like 
>molecule running through the gel with separations due to the winding of DNA 
>through the gel.
>
>
>
>
>Inman ch6 Pg 83-95
>
>Length Polymorphisms
>
>Pcr can be used to amplify short polymorphisms. The procedures for all 
>three detection systems are similar. The PCR product is loaded into a gel 
>but this gel is made out of a different substance called polyacrylamide. 
>This gel is more appropriate for analyzing the small size PCR products. The 
>fragments are separate by length. The bands are stained directly. A silver 
>stain is used to visualize the separated DNA bands and the gel is then 
>dried to be kept as a permanent record. Just like RFLP each locus will 
>produce one or two bands representing the alleles present. STRs are now 
>most commonly analyzed using florescent detection and automated analysis. 
>These results are called electropherograms, which are presented as a series 
>of peaks. One major advantage of fluorescent detection is that only one of 
>the two denatured strands from each DNA duplex is visualized. Because the 
>resolution power of the gel system is so high. In fluorescent detection, 
>only the primer complementary to one strand is tagged, thus eliminating any 
>confusion resulting from reading doublets at each allele. Additionally, the 
>use of multiple colored fluorescent tags allows the combination of STR loci 
>in which the lengths of some overlap. These can be run in the same gel lane 
>and still be clearly distinguished by color.
>
>_Ch12
Need for DNA separation
·    Typical separation size range from 100-400bp
·    Separation method be reproducible and have results that can be compared by 
other labs
·    DNA separation by electrophoresis in stab-gel or capillary environment
Electrophoresis
·    Phosphate group on DNA has negative charge
·    DNA molecules migrate away from negative electrode
·    Movement of ions generate heat, heat must be dissipated—excessive heat can 
cause gel to fall apart—capillaries can dissipate heat better
Stab Gels
·    Stab gels consist of series of wells and a buffer solution that DNA moves 
through during electrophoresis
Agarose gels
·    RFPL uses agarose gels to separate fragments in sizes of ~600bp to 
~23000bp
·    Low molecular weight DNA not separated well w/ agarose gels
·    PCR amplifies STRs (~100bp to ~400bp) better separated by polyacrylamide 
gels
·    Agarose is a seaweed, contains pores 200nm in diameter
·    Each wells generally can hold 5-10 microliters of sample
·    Samples are mixed with a loading dye (bromophenol blue) to help see the 
sample
·    8-24 samples are run at a time on a agarose gel
·    Anode (+ electrode) farthest away from wells
·    100-600 volts
·    Smaller DNA molecules move faster than larger ones
·    When separation is completed, gel is scanned or photographed



Just to let you know Emmy, Cary and Tony turned in the ch 12 summary         
________________________________________________________________